## Sheet1
UNITRONICS Part Numbers September, 2008
Spec Tech Industrial Electric : www.spectechind.com E-mail: sales@spectechind.com (888) SPECTECH
Part No. | Description
Jazz Series Micro-PLC/HMI
Micro-PLC/HMI
JZ10-11-R10 | 24VDC, 6 Digital inputs, 4 Relay outputs
JZ10-11-R16 | 24VDC, 6 Digital inputs, 2 Digital/Analog inputs (0-10V), 2 Analog inputs (0-20mA), 6 Relay outputs
JZ10-11-R31 | 24VDC, 16 digital inputs, 2 digital/analog inputs, 2 analog inputs, 11 relay outputs
JZ10-11-T10 | 24VDC, 6 Digital inputs, 4 Transistor outputs
JZ10-11-T17 | 24VDC, 6 Digital inputs, 2 Digital/Analog inputs, (0-10V), 2 Analog inputs (0-20mA), 7 Transistor outputs
JZ10-11-T40 | 24VDC, 16 digital inputs, 2 digital/ analog inputs, 2 analog inputs, 20 transistor outputs
JZ10-11-PT15 | 24VDC, 3 digital inputs, 3 digital/analog inputs, 3 PT1000/NI1000, 5 relay outputs, 1 transistor output
Jazz Add-on Modules and accessories
JZ-PRG | Programming kit. Includes software CD, Programming add-on port, programming cable, D-type adapter
JZ-RS4 | RS232/RS485 add on port, cable and adapter
MJ20-MEM1 | Program cloner
MJ20-JZ-SL1 | Extra keypad slide set (blank)
M90 Series PLC/HMI (1-line display)
M90-19-B1A | 24VDC, 10 Digial Inputs, 6 Relay Outputs, 1 Analog Input, RS232
M90-T | 24VDC, 8 Digial Inputs, 6 Transistor Outputs, RS232
M90-TA2-CAN | 24VDC, 10 Digial Inputs, 8 Transistor Outputs, 2 Analog Inputs, 1 Analog Output, RS232, CANbus
M91 Series PLC/HM (2-lines display)
M91-2-R1 | 12/24VDC, 10 Digial Inputs, 6 Relay Outputs, 1 Analog Inputs, RS232/485
M91-2-R2C | 12/24VDC, 10 Digial Inputs, 6 Relay Outputs, 2 Analog Inputs, RS232/485, CANbus
M91-2-R6C | 24VDC, 6 Digial Inputs, 6 Relay Outputs, 6 Analog Inputs, RS232/485, CANbus
M91-2-R34 | 24VDC, 20 Digial Inputs, 2 Analog/Digital Inputs, 12 Relay Outputs, RS232/485
M91-2-T1 | 12/24VDC, 12 Digial Inputs, 12 Transistor Outputs, RS232/485
M91-2-T38 | 24VDC, 22 Digial Inputs, 16 Transistor Outputs, RS232/485
M91-2-T2C | 12/24VDC, 10 Digial Inputs, 12 Transistor Outputs, 2 Digital/Analog Inputs, RS232/485
M91-2-UN2 | 12/24VDC, 10 Digial Inputs, 12 Transistor Outputs, 2 PT100/TC/Analog/Digital Inputs, RS232/485
M91-2-UA2 | 24VDC, 10 Digial Inputs, 10 Transistor Outputs, 2 TC/Analog/Digital Inputs, 2 Analog Outputs, RS232/485
M91-2-RA22 | 24VDC, 12 Digital Inputs including 2 Analog inputs and 2 temperature measurement inputs, high speed counter/ shaft encoder input, 8 relay outputs, 2 Analog outputs, RS232/ RS485.
V120 Series PLC/Graphic HMI (128x64 pixels display)
V120-22-R1 | 12/24VDC, 10 Digial Inputs, 6 Relay Outputs, 1 Analog Inputs, RS232/485 x 2
V120-22-R2C | 12/24VDC, 10 Digial Inputs, 6 Relay Outputs, 2 Analog Inputs, RS232/485, CANbus x 2
V120-22-R6C | 24VDC, 6 Digial Inputs, 6 Relay Outputs, 6 Analog Inputs, RS232/485, CANbus x 2
V120-22-R34 | 24VDC, 20 Digial Inputs, 2 Analog/Digital Inputs, 12 Relay Outputs, RS232/485 x 2
V120-22-T1 | 12/24VDC, 12 Digial Inputs, 12 Transistor Outputs, RS232/485 x 2
V120-22-T38 | 24VDC, 22 Digial Inputs, 16 Transistor Outputs, RS232/485 x 2
V120-22-T2C | 12/24VDC, 10 Digial Inputs, 12 Transistor Outputs, 2 Digital/Analog Inputs, RS232/485 x 2
V120-22-UN2 | 12/24VDC, 10 Digial Inputs, 12 Transistor Outputs, 2 PT100/TC/Analog/Digital Inputs, RS232/485 x 2
V120-22-UA2 | 24VDC, 10 Digial Inputs, 10 Transistor Outputs, 2 TC/Analog/Digital Inputs, 2 Analog Outputs, RS232/485 x 2
V120-22-RA22 | 24VDC, 12 Digital Inputs including 2 Analog inputs and 2 temperature measurement inputs, high speed counter/ shaft encoder input, 8 relay outputs, 2 Analog outputs, RS232/ RS485.
V130 Series PLC/Graphic HMI (128x64 pixels display)
V130-33-R2 | 24VDC, 10 Digital Inputs, 2 Analog/Digital Inputs, 6 Relay Outputs, RS232/485
V130-33-R6 | 24VDC, 6 Digital Inputs, 2 Digital/Analog (current/voltage) Inputs, 4 Analog (current), 6 Relay Outputs, RS232/485
V130-33-R34 | 24VDC, 20 Digital Inputs, 2 Analog/Digital Inputs, 12 Relay Outputs, RS232/485
V130-33-RA22 | 24VDC, 8 Digital Inputs, 2 Analog/Digital Inputs, 2 TC/PT/Digital Inputs, 8 Relay Outputs, 2 Analog Outputs, RS232/485
V130-33-T2 | 24VDC, 10 Digital Inputs, 2 Analog/Digital Inputs, 12 Transistor Outputs, RS232/485
V130-33-T38 | 24VDC, 20 Digital Inputs, 2 Analog/Digital Inputs, 16 Transistor Outputs, RS232/485
V130-33-TA24 | 24VDC, 8 Digital Inputs, 2 Analog/Digital Inputs, 2 TC/PT/Digital Inputs, 10 Transistor Outputs, 2 Analog Outputs, RS232/485
V130-33-B1 | 24VDC, no on-board I/Os, can be connected to expansion modules, RS232/RS485
V350 Series PLC/Color Touchscreen HMI (3.5" display)
V350-35-R2 | 24VDC, 10 Digital Inputs, 2 Analog/Digital Inputs, 6 Relay Outputs, RS232/RS485
V350-35-R6 | 24VDC, 6 Digital Inputs, 2 Digital/Analog (current/voltage) Inputs, 4 Analog (current), 6 Relay Outputs, RS232/485
V350-35-R34 | 24VDC, 20 Digital Inputs, 2 Analog/Digital Inputs, 12 Relay Outputs, RS232/RS485
V350-35-RA22 | 24VDC, 8 Digital Inputs, 2 Analog/Digital Inputs, 2 TC/PT/Digital Inputs, 8 Relay Outputs, 2 Analog Outputs, RS232/RS485
V350-35-T2 | 24VDC, 10 Digital Inputs, 2 Analog/Digital Inputs, 12 Transistor Outputs, RS232/RS485
V350-35-T38 | 24VDC, 20 Digital Inputs, 2 Analog/Digital Inputs, 16 Transistor Outputs, RS232/RS485
V350-35-TA24 | 24VDC, 8 Digital Inputs, 2 Analog/Digital Inputs, 2 TC/PT/Digital Inputs, 10 Transistor Outputs, 2 Analog Outputs, RS232/RS485
V350-35-B1 | 24VDC, no on-board I/Os, can be connected to expansion modules, RS232/RS485
Additional communication ports for Vision130 and Vision350
V100-17-RS4 | 1 RS232/RS485 port
V100-17-RS4X | 1 RS232/RS485 port (Isolated)
V100-17-ET2 | 1 Ethernet port
V100-17-CAN | 1 CANbus port (Isolated)
* Each V130 unit can be installed with 1 additional CANbus port, plus 1 of the following COM ports- Ethernet, RS232/485, or RS232/485 (isolated).
V130-33-SL1 | Extra keypad slide set (blank) for V130 (in V350 an extra slide is included in the product package)
V200 Series PLC/Graphic HMI
PLC and Graphic HMI
V230-13-B20B | GRAPHIC 128X64, CAN, 2 RS232
V260-16-B20B | GRAPHIC 240X64, CAN, 2 RS232
V280-18-B20B | 4.7" Touchscreen (320X240) + keyboard, CAN, 2 RS232
V290-19-B20B | 5.7" Touchscreen (320X240), CAN, 2 RS233
V530-53-B20B | 5.7" Touchscreen (320X240), CAN, 1 RS234, 1 RS232/485
V290-19-T40B | 5.7" Color Touchscreen, TFT (320X240), CAN, 2 RS232/485
V570-57-C30B | 5.7" Color Touchscreen, CSTN (320X240), CAN, 2 RS232/485
V570-57-T40B | 5.7" Color Touchscreen, TFT (320X240), CAN, 2 RS232/485
Snap-in I/O modules
V200-18-E1B | 16 Digital Inputs, 10 Relay Outputs, 4 Transistor Outputs, 3 Analog Inputs, 24VDC
V200-18-E2B | 16 Digital Inputs, 10 Relay Outputs, 4 Transistor Outputs, 2 Analog Inputs, 2 Analog Outputs, 24VDC
V200-18-E3XB | 18 Digital Inputs, 15 Relay Outputs, 2 Transistor Outputs, 4 Analog Inputs, 4 Analog Outputs, 24VDC
V200-18-E4XB | 18 Isolated Digital Inputs, 2 Isolated pnp/npn Transistor Outputs, 15 Isolated pnp Transistor Outputs, 4 Isolated Analog (14 bit)/Thermocouple/PT100 Inputs (Res. 0.1˚), 4 Isolated Analog Outputs (12 bit), 24VDC
V200-18-E5B | 18 Isolated Digital Inputs, 2 Isolated pnp/npn Transistor Outputs, 15 Isolated pnp Transistor Outputs, 3 Analog (10 bit) Inputs, 24VDC
V200-18-E6B | 18 Digital Inputs, 15 Relay Outputs, 2 Transistor Outputs, 3 Analog Inputs, 2 Analog/ Thermocouple/ PT100 Inputs, 2 Analog Outputs
Additional communication ports for Vision230, Vision260, Vision280, Vision290, Vision530, Vision570
V200-19-R4 | 1 RS485 port
V200-19-ET1 | 1 Ethernet port
V200-19-RS4-X | 1 RS232/RS485 (Isolated)
Expansion I/O modules
EX-A1 | Local expansion adapter, 12/24VDC
EX-RC1 | Remote expansion adapter via CANbus, 12/24VDC
24VDC Digital modules
IO-DI8-TO8 | 8 Digital Inputs / 8 Transistor Outputs, 24VDC
IO-DI8-RO4 | 8 Digital Inputs / 4 Relay Outputs, 24VDC
IO-DI8-RO8 | 8 Digital Inputs / 8 Relay Outputs, 24VDC
IO-DI16 | 16 Digital Inputs, 24VDC
IO-RO8 | 8 Relay Outputs, 24VDC
IO-RO16 | 16 Relay Outputs, 24VDC
EX90-DI8-RO8 | 8 Digital Inputs / 8 Relay Outputs, 24VDC
12VDC Digital modules
IO-DI8-TO8-L | 8 Digital Inputs / 8 Transistor Outputs, 12VDC
IO-DI8-RO4-L | 8 Digital Inputs / 4 Relay Outputs,12VDC
IO-DI8-RO8-L | 8 Digital Inputs / 8 Relay Outputs,12VDC
IO-DI16-L | 16 Digital Inputs, 12VDC
IO-RO8L | 8 Relay Outputs, 12VDC
IO-RO16-L | 16 Relay Outputs, 12VDC
12/24VDC Digital module
IO-TO16 | 16 Transistor Outputs, 12/24VDC
110/220VAC Digital module
IO-DI8ACH | 8 110/220VAC Digital Inputs
Analog & Temperature measurement modules
IO-AI4-AO2 | 4 Analog Inputs / 2 Analog Outputs
IO-AO6X | 6 Isolated Analog Outputs
IO-PT400 | 4 PT100 / NI100 / NI120 Inputs
IO-PT4K | 4 PT1000 / NI1000 Inputs
IO-ATC8 | 8 Thermocouple/Analog Inputs
IO-LC1 | 1 Loadcell/Strain gauge Input, 1 Digital Input / 1 Setpoint Digital Output
IO-LC3 | 3 Loadcell/Strain gauge Inputs, 1 Digital Input / 1 Setpoint Digital Output
Accessories
GSM Accessories
GSM-KIT-14J | GPRS/GSM Kit, Siemens TC65T Modem, Quad band
GSM-KIT-41J | GPRS/GSM Kit, Enfora GSM1208, Quad Band
Power Supplies
PS-24-11A | Power Supply, 24V,1.1A, for PLCs and modem
Converters & Connectors
M90-19-R4 | RS232 to RS422/485 converter
MJ10-22-CS35 | USB to RS232 converter
MJ10-22-CS65 | RS485 plug for V120
MJ10-22-CS66 | RS485 plug for V230/260/280
Expansion adapter cables*
EX1-CA050 | Expansion cable (0.5m)
EX1-CA100 | Expansion cable (1m)
EX1-CA200 | Expansion cable (2m)
EX1-CA400 | Expansion cable (4m)
EX1-CA500 | Expansion cable (5m)
EX1-CA600 | Expansion cable (6m)
* A standard cable of 1m is supplied with the expansion adapter
EX-A1, Expansion Adapter is used with all expansion units except EX90-DI8-R08*
*Expansion Adapter not needed, open housing and stand alone.